## Slide 1: REMOTELY ACTIVATED CONTROL AND DEMAND RESPONSE OF AGGREGATED ELECTRIC VEHICLES
Michael McDonald (s1425486)
Electrical and Mechanical Engineering BEng (hons) 1 February 2017

## Slide 2
“This project will focus on the technical and economical feasibility of providing grid services through demand response on vehicles that are connected to a uni-directional charge point with no smart capabilities”

## Slide 3: REVIEW OF FINDINGS DEMAND RESPONSE CO-ORDINATION
2 sec
10 sec
30 sec
1 min
10 min
30 min
1 hour
2 hour
Firm Frequency Response (FFR)
and
Frequency Control by Demand Management (FCDM)
Short Term Operating Reserve (STOR)
4 hour
Large Generators
[Curtis M, 2015]
Notes: Referenced: Overview of the UK Demand Response (Mitchell Curtis 2015)

## Slide 4: REVIEW OF FINDINGS FREQUENCY RESPONSE SERVICES
[National Grid, 2017]
Technology | Minimum size* | Notice Period | Duration | Regularity** | Value*** | Contract
Static Firm Frequency Response (FFR) | 10MW | 30 sec | Max 30 min Typically 5 min | 10–30 | ££ | Monthly electronic tender
Dynamic FFR | 10MW | 2 sec | Max 30 min Typically 3-4 min | Daily | £££ | Monthly electronic tender
FFR Bridging | <10MW | 30 sec | 30 min | 10–30 | ££ | Bilateral contract of 12–24 months to transition in to the FFR market (either Static or Dynamic).
Frequency Control by Demand Management (FCDM) | 3 MW | 2 sec | 30 min | 10 | ££ | Bilateral contracts for 1–2 yrs. Week ahead notification of daily load able to shed
Enhanced Response (EFR) | 1-5MW | 1 sec dynamic | Max 15 min Typically 3–4 min |  | £££ | New product – trial tender
Notes: * to contract directly with National Grid (smaller loads via demand side providers)
** Average number of times called on per year, based on recent data. Source: National Grid
*** Relative value to participant
£ the greater the number of ‘£’ signs indicates a greater value to the demand side participant
Referenced : Demand Side Flexibility Annual Report 2016 (National Grid 2017)

## Slide 5: REVIEW OF FINDINGS RESERVE SERVICES
[National Grid, 2017]
Technology | Minimum size | Notice Period | Duration | Regularity | Value | Contract
Short Term Operating Reserve (STOR) | 3MW | 20 min | 2–4 hrs Typically | Able to deliver 3x per week | £ | 3 tenders p.a. ‘Committed’ or ‘Flexible’ service
STOR Runway | <3MW | 20 min | 2–4 hrs Typically | Able to deliver 3x per week | £ | Bilateral contract
Fast Reserve | 50MW | 2 min, reaching 50 MW in 4 min | 15 min |  | £ | Monthly tender
Demand Turn Up | 1MW | 10 min, sometimes requested day-ahead | Min 30 min |  | £ | New product – trial tender
Notes: £ the greater the number of ‘£’ signs indicates a greater value to the demand side participant
Referenced : Demand Side Flexibility Annual Report 2016 (National Grid 2017)

## Slide 6: VEHICLE DEFINITIONS BEV and PHEV
Vehicle | Class | Battery Capacity | Max Charge Rate | Time to charge at home | Range on battery
Jaguar I-Pace | Battery Electric Vehicle (BEV) | ~100 kWh | 150kW | 15 Hours (7kW) | 310 miles
Audi Q7 E-Tron | Plug in Hybrid Electric Vehicle (PHEV) | 17.3 kWh | 7kW | 2.5 Hours (7kW) | 34 miles
Audi Q7 E-Tron
Jaguar I-Pace
[Audi, 2018]
[JLR, 2018]
Notes: The target vehicles chosen are the Jaguar I-Pace battery electric vehicles and the Audi Q7 e-tron plug in hybrid vehicle. These were chosen as the high range electric vehicles will have the highest demand response capabilities per device with the plug in hybrids offering the least disturbance to drivers and the two being in a comparable vehicle bracket
Image credit: http://ksassets.timeincuk.net/wp/uploads/sites/54/2017/03/jaguar-ipace-4-1.jpg/
https://www.audi.co.uk/audi-innovation/e-tron.html
Information sources:
I-Pace: Abhishek Sampat, JLR
e-tron: https://www.audi.co.uk/audi-innovation/e-tron.html

## Slide 7: SYSTEM LOGIC CHARGE CONTROL WITHOUT DSR
EV Plugged in
SOC < 100%
CHARGING
NOT CHARGING
1
1
0
0

## Slide 8: SYSTEM LOGIC CHARGE CONTROL WITH DSR
EV Plugged in
SOC < 100%
CHARGING
NOT CHARGING
Charging needed by user
1
1
1
0
0
0
Needed for DSR
0
1

## Slide 9: DRIVER PROFILES USE CASES
Vehicle Ownership | Age Group | Gender | Daily Distance (miles) | Daily Charge Time* (hr)
Private | 20-39 | Male | 13.5 | 1.2
 |  | Female | 8.6 | 0.8
 | 40-59 | Male | 19.5 | 1.7
 |  | Female | 11.5 | 1.0
 | Average | N/A | 20.5 | 1.8
Company | 20-39 | Male | 34.0 | 3.0
 |  | Female | 21.7 | 1.9
 | 40-59 | Male | 49.2 | 4.4
 |  | Female | 28.9 | 2.6
 | Average | N/A | 51.8 | 4.6
[National Travel Survey, 2016]
Notes: * Time required to recharge battery usage from daily commute
Time to charge calculated using 390Wh/km (A Sampat, 2017)
Time = (distance*624Wh/mile) / 7000W
Time = distance*0.089 h

## Slide 10: DRIVER PROFILES INITIAL FINDINGS
[TomTom, 2018]
Notes: 8 hour

## Slide 11: DRIVER PROFILES USER 1

## Slide 12: DRIVER PROFILES USER 1
  Male
  22 years old
  Private Vehicle

## Slide 13: PROJECT TIMELINE SEMESTER 2
Week 5
Festival of Creative Learning
Week 6
Week 8
Week 10
Week 11
Exam week 1
Exam week 2
Presentation 1
Presentation 2
viva-voce
examinations
Thesis Deadline
Data Collection
Data Processing
Economic Model
Report Writing
Parallel Technologies for pitfalls

## Slide 15: PROJECT SCOPE OBJECTIVES
Literature Review into current and future demand response options
  Frequency response
  Voltage response
Technical feasibility of using delayed charging of a BEV/PHEV fleet for aggregated demand response
  Load increasing/reducing
  Global demand response (frequency)
  Localised demand response (voltage)
Economical feasibility of using delayed charging of a BEV/PHEV fleet for aggregated demand response
  Statistical risk of compliance
  Cost of having diesel generator backup
Technology feasibility and implementation strategy
Sample algorithm and machine learning model